## Command
Type | Value | Comment
presentation | 0 | Sent by a node when they present attached sensors. This is usually done in setup() at startup.
set | 1 | This message is sent from or to a sensor when a sensor value should be updated
req | 2 | Requests a variable value (usually from an actuator destined for controller).
internal | 3 | This is a special internal message. See table below for the details
stream | 4 | Used for OTA firmware updates

## Presentation
Type | Value | Comment | Variables
S_DOOR | 0 | Door and window sensors | V_TRIPPED, V_ARMED
S_MOTION | 1 | Motion sensors | V_TRIPPED, V_ARMED
S_SMOKE | 2 | Smoke sensor | V_TRIPPED, V_ARMED
S_BINARY | 3 | Binary device (on/off) | V_STATUS, V_WATT
S_DIMMER | 4 | Dimmable device of some kind | V_STATUS (on/off), V_PERCENTAGE (dimmer level 0-100), V_WATT
S_COVER | 5 | Window covers or shades | V_UP, V_DOWN, V_STOP, V_PERCENTAGE
S_TEMP | 6 | Temperature sensor | V_TEMP, V_ID
S_HUM | 7 | Humidity sensor | V_HUM
S_BARO | 8 | Barometer sensor (Pressure) | V_PRESSURE, V_FORECAST
S_WIND | 9 | Wind sensor | V_WIND, V_GUST, V_DIRECTION
S_RAIN | 10 | Rain sensor | V_RAIN, V_RAINRATE
S_UV | 11 | UV sensor | V_UV
S_WEIGHT | 12 | Weight sensor for scales etc. | V_WEIGHT, V_IMPEDANCE
S_POWER | 13 | Power measuring device, like power meters | V_WATT, V_KWH, V_VAR, V_VA, V_POWER_FACTOR
S_HEATER | 14 | Heater device | V_HVAC_SETPOINT_HEAT, V_HVAC_FLOW_STATE, V_TEMP, V_STATUS
S_DISTANCE | 15 | Distance sensor | V_DISTANCE, V_UNIT_PREFIX
S_LIGHT_LEVEL | 16 | Light sensor | V_LIGHT_LEVEL (uncalibrated percentage), V_LEVEL (light level in lux)
S_ARDUINO_NODE | 17 | Arduino node device
S_ARDUINO_REPEATER_NODE | 18 | Arduino repeating node device
S_LOCK | 19 | Lock device | V_LOCK_STATUS
S_IR | 20 | Ir sender/receiver device | V_IR_SEND, V_IR_RECEIVE, V_IR_RECORD
S_WATER | 21 | Water meter | V_FLOW, V_VOLUME
S_AIR_QUALITY | 22 | Air quality sensor e.g. MQ-2 | V_LEVEL, V_UNIT_PREFIX
S_CUSTOM | 23 | Use this for custom sensors where no other fits.
S_DUST | 24 | Dust level sensor | V_LEVEL, V_UNIT_PREFIX
S_SCENE_CONTROLLER | 25 | Scene controller device | V_SCENE_ON, V_SCENE_OFF
S_RGB_LIGHT | 26 | RGB light | V_RGB, V_WATT
S_RGBW_LIGHT | 27 | RGBW light (with separate white component) | V_RGBW, V_WATT
S_COLOR_SENSOR | 28 | Color sensor | V_RGB
S_HVAC | 29 | Thermostat/HVAC device | V_STATUS, V_TEMP, V_HVAC_SETPOINT_HEAT, V_HVAC_SETPOINT_COLD, V_HVAC_FLOW_STATE, V_HVAC_FLOW_MODE, V_HVAC_SPEED
S_MULTIMETER | 30 | Multimeter device | V_VOLTAGE, V_CURRENT, V_IMPEDANCE
S_SPRINKLER | 31 | Sprinkler device | V_STATUS (turn on/off), V_TRIPPED (if fire detecting device)
S_WATER_LEAK | 32 | Water leak sensor | V_TRIPPED, V_ARMED
S_SOUND | 33 | Sound sensor | V_LEVEL (in dB), V_TRIPPED, V_ARMED
S_VIBRATION | 34 | Vibration sensor | V_LEVEL (vibration in Hz), V_TRIPPED, V_ARMED
S_MOISTURE | 35 | Moisture sensor | V_LEVEL (water content or moisture in percentage?), V_TRIPPED, V_ARMED
S_INFO | 36 | LCD text device | V_TEXT
S_GAS | 37 | Gas meter | V_FLOW, V_VOLUME
S_GPS | 38 | GPS Sensor | V_POSITION
S_WATER_QUALITY | 39 | Water quality sensor | V_TEMP, V_PH, V_ORP, V_EC, V_STATUS

## SetReq
Type | Value | Comment | Used by
V_TEMP | 0 | Temperature | S_TEMP, S_HEATER, S_HVAC, S_WATER_QUALITY
V_HUM | 1 | Humidity | S_HUM
V_STATUS | 2 | Binary status. 0=off 1=on | S_BINARY, S_DIMMER, S_SPRINKLER, S_HVAC, S_HEATER, S_WATER_QUALITY
V_PERCENTAGE | 3 | Percentage value. 0-100 (%) | S_DIMMER, S_COVER
V_PRESSURE | 4 | Atmospheric Pressure | S_BARO
V_FORECAST | 5 | Whether forecast. One of "stable", "sunny", "cloudy", "unstable", "thunderstorm" or "unknown" | S_BARO
V_RAIN | 6 | Amount of rain | S_RAIN
V_RAINRATE | 7 | Rate of rain | S_RAIN
V_WIND | 8 | Windspeed | S_WIND
V_GUST | 9 | Gust | S_WIND
V_DIRECTION | 10 | Wind direction 0-360 (degrees) | S_WIND
V_UV | 11 | UV light level | S_UV
V_WEIGHT | 12 | Weight (for scales etc) | S_WEIGHT
V_DISTANCE | 13 | Distance | S_DISTANCE
V_IMPEDANCE | 14 | Impedance value | S_MULTIMETER, S_WEIGHT
V_ARMED | 15 | Armed status of a security sensor. 1=Armed, 0=Bypassed | S_DOOR, S_MOTION, S_SMOKE, S_SPRINKLER, S_WATER_LEAK, S_SOUND, S_VIBRATION, S_MOISTURE
V_TRIPPED | 16 | Tripped status of a security sensor. 1=Tripped, 0=Untripped | S_DOOR, S_MOTION, S_SMOKE, S_SPRINKLER, S_WATER_LEAK, S_SOUND, S_VIBRATION, S_MOISTURE
V_WATT | 17 | Watt value for power meters | S_POWER, S_BINARY, S_DIMMER, S_RGB_LIGHT, S_RGBW_LIGHT
V_KWH | 18 | Accumulated number of KWH for a power meter | S_POWER
V_SCENE_ON | 19 | Turn on a scene | S_SCENE_CONTROLLER
V_SCENE_OFF | 20 | Turn of a scene | S_SCENE_CONTROLLER
V_HVAC_FLOW_STATE | 21 | Mode of header. One of "Off", "HeatOn", "CoolOn", or "AutoChangeOver" | S_HVAC, S_HEATER
V_HVAC_SPEED | 22 | HVAC/Heater fan speed ("Min", "Normal", "Max", "Auto") | S_HVAC, S_HEATER
V_LIGHT_LEVEL | 23 | Uncalibrated light level. 0-100%. Use V_LEVEL for light level in lux. | S_LIGHT_LEVEL
V_VAR1 | 24 | Custom value | Any device
V_VAR2 | 25 | Custom value | Any device
V_VAR3 | 26 | Custom value | Any device
V_VAR4 | 27 | Custom value | Any device
V_VAR5 | 28 | Custom value | Any device
V_UP | 29 | Window covering. Up. | S_COVER
V_DOWN | 30 | Window covering. Down. | S_COVER
V_STOP | 31 | Window covering. Stop. | S_COVER
V_IR_SEND | 32 | Send out an IR-command | S_IR
V_IR_RECEIVE | 33 | This message contains a received IR-command | S_IR
V_FLOW | 34 | Flow of water (in meter) | S_WATER
V_VOLUME | 35 | Water volume | S_WATER
V_LOCK_STATUS | 36 | Set or get lock status. 1=Locked, 0=Unlocked | S_LOCK
V_LEVEL | 37 | Used for sending level-value | S_DUST, S_AIR_QUALITY, S_SOUND (dB), S_VIBRATION (hz), S_LIGHT_LEVEL (lux)
V_VOLTAGE | 38 | Voltage level | S_MULTIMETER
V_CURRENT | 39 | Current level | S_MULTIMETER
V_RGB | 40 | RGB value transmitted as ASCII hex string (I.e "ff0000" for red) | S_RGB_LIGHT, S_COLOR_SENSOR
V_RGBW | 41 | RGBW value transmitted as ASCII hex string (I.e "ff0000ff" for red + full white) | S_RGBW_LIGHT
V_ID | 42 | Optional unique sensor id (e.g. OneWire DS1820b ids) | S_TEMP
V_UNIT_PREFIX | 43 | Allows sensors to send in a string representing the unit prefix to be displayed in GUI. This is not parsed by controller! E.g. cm, m, km, inch. | S_DISTANCE, S_DUST, S_AIR_QUALITY
V_HVAC_SETPOINT_COOL | 44 | HVAC cold setpoint | S_HVAC
V_HVAC_SETPOINT_HEAT | 45 | HVAC/Heater setpoint | S_HVAC, S_HEATER
V_HVAC_FLOW_MODE | 46 | Flow mode for HVAC ("Auto", "ContinuousOn", "PeriodicOn") | S_HVAC
V_TEXT | 47 | Text message to display on LCD or controller device | S_INFO
V_CUSTOM | 48 | Custom messages used for controller/inter node specific commands, preferably using S_CUSTOM device type. | S_CUSTOM
V_POSITION | 49 | GPS position and altitude. Payload: latitude;longitude;altitude(m). E.g. "55.722526;13.017972;18" | S_GPS
V_IR_RECORD | 50 | Record IR codes S_IR for playback | S_IR
V_PH | 51 | Water PH | S_WATER_QUALITY
V_ORP | 52 | Water ORP : redox potential in mV | S_WATER_QUALITY
V_EC | 53 | Water electric conductivity μS/cm (microSiemens/cm) | S_WATER_QUALITY
V_VAR | 54 | Reactive power: volt-ampere reactive (var) | S_POWER
V_VA | 55 | Apparent power: volt-ampere (VA) | S_POWER
V_POWER_FACTOR | 56 | Ratio of real power to apparent power: floating point value in the range [-1,..,1] | S_POWER

## Internal
Type | Value | Comment
I_BATTERY_LEVEL | 0 | Use this to report the battery level (in percent 0-100).
I_TIME | 1 | Sensors can request the current time from the Controller using this message. The time will be reported as the seconds since 1970
I_VERSION | 2 | Used to request gateway version from controller.
I_ID_REQUEST | 3 | Use this to request a unique node id from the controller.
I_ID_RESPONSE | 4 | Id response back to node. Payload contains node id.
I_INCLUSION_MODE | 5 | Start/stop inclusion mode of the Controller (1=start, 0=stop).
I_CONFIG | 6 | Config request from node. Reply with (M)etric or (I)mperal back to sensor.
I_FIND_PARENT | 7 | When a sensor starts up, it broadcast a search request to all neighbor nodes. They reply with a I_FIND_PARENT_RESPONSE.
I_FIND_PARENT_RESPONSE | 8 | Reply message type to I_FIND_PARENT request.
I_LOG_MESSAGE | 9 | Sent by the gateway to the Controller to trace-log a message
I_CHILDREN | 10 | A message that can be used to transfer child sensors (from EEPROM routing table) of a repeating node.
I_SKETCH_NAME | 11 | Optional sketch name that can be used to identify sensor in the Controller GUI
I_SKETCH_VERSION | 12 | Optional sketch version that can be reported to keep track of the version of sensor in the Controller GUI.
I_REBOOT | 13 | Used by OTA firmware updates. Request for node to reboot.
I_GATEWAY_READY | 14 | Send by gateway to controller when startup is complete.
I_SIGNING_PRESENTATION | 15 | Provides signing related preferences (first byte is preference version).
I_NONCE_REQUEST | 16 | Used between sensors when requesting nonce.
I_NONCE_RESPONSE | 17 | Used between sensors for nonce response.
I_HEARTBEAT_REQUEST | 18 | Heartbeat request
I_PRESENTATION | 19 | Presentation message
I_DISCOVER_REQUEST | 20 | Discover request
I_DISCOVER_RESPONSE | 21 | Discover response
I_HEARTBEAT_RESPONSE | 22 | Heartbeat response
I_LOCKED | 23 | Node is locked (reason in string-payload)
I_PING | 24 | Ping sent to node, payload incremental hop counter
I_PONG | 25 | In return to ping, sent back to sender, payload incremental hop counter
I_REGISTRATION_REQUEST | 26 | Register request to GW
I_REGISTRATION_RESPONSE | 27 | Register response from GW
I_DEBUG | 28 | Debug message